## Instructions
Welcome to the autoverification clinical performance calculator.
If using this calculator, please cite Loh et al, 2022, 'An Objective Approach to Deriving the Clinical Performance of Autoverification Limits'.
Instructions
1. Extract historical laboratory data (preferrably at least 12 months) for the analyte of interest.
2a. if required, perform logarothmic transformation or a Box-Cox transformation to approximate Gaussian disribution
2b. Box-Cox transformation can be prefomed using online tool at-- http://www.wessa.net/rwasp_boxcoxnorm.wasp
3. Copy and paste the (un)transformed data into yellow shaded cells in Column A in Raw Results tab.
4. Input desired percentile values for lower and upper autoverification limits, expressed as fractions in blue shaded boxes under Calculations tab.
5. Input the tolerable total error (analytical performance specification) in the Tab
6. The resulting clinical sensitivity and specificty will be automatically calculated and displayed in green boxes under Calculations tab.
Transformed/untransformed results pasted in this color box
Values for calculations can be entred in this color shaded box

## Calculations
Desired Clinical Specificity
Percentile value for upper autoverification limit (fraction) | 0.95 | 27.1056
Percentile value for lower autoverification limit (fraction) | 0.05 | 20.0926
Median value (fraction) | 0.5 | 23.6095
Distance between median and autoverification limit |  | 3.4961
Measurement Uncertainty
CVi - Within-subject biological variation (fraction) | 0.042
CVa - Analytical variation (fraction) | 0.024
Native measurement uncertainty |  | 1.1421
95%CI measurement uncertainty |  | 2.2385
Reference change value/ critical difference |  | 3.1657
Tolerable bias (absolute) | 0.1 | 2.361
Z-values Based On:
Native measurement uncertainty |  | 3.0611
95%CI measurement uncertainty |  | 1.5618
Reference change value/critical difference |  | 1.1044
Tolerable bias |  | 1.4808
Clinical Specificity | 0.9
Clinical Sensitivity - Minimum
Native measurement uncertainty | 0.0011025
95%CI measurement uncertainty | 0.059167
Reference change value/critical difference | 0.13472
Tolerable bias | 0.069332

## Raw Results
Transformed/Unstransformed Laboratory results
24.4854
22.7324
24.4854
25.36
22.7324
27.9767
21.8539
24.4854
23.6095
24.4854
23.6095
23.6095
24.4854
25.36
24.4854
22.7324
22.7324
23.6095
26.2334
24.4854
23.6095
22.7324
25.36
24.4854
25.36
23.6095
25.36
27.9767
20.0926
24.4854
26.2334
20.0926
20.974
22.7324
24.4854
26.2334
28.8467
24.4854
22.7324
23.6095
20.0926
22.7324
22.7324
24.4854
22.7324
27.1056
22.7324
23.6095
21.8539
22.7324
22.7324
24.4854
25.36
19.2097
21.8539
26.2334
26.2334
23.6095
25.36
25.36
21.8539
22.7324
25.36
23.6095
23.6095
22.7324
20.974
22.7324
24.4854
22.7324
24.4854
20.0926
20.974
28.8467
21.8539
19.2097
22.7324
23.6095
20.0926
23.6095
26.2334
26.2334
21.8539
24.4854
26.2334
21.8539
27.1056
22.7324
22.7324
20.974
20.974
23.6095
27.1056
24.4854
24.4854
24.4854
21.8539
24.4854
24.4854
22.7324
26.2334
25.36
26.2334
23.6095
20.0926
23.6095
25.36
23.6095
23.6095
24.4854
21.8539
22.7324
21.8539
21.8539
23.6095
22.7324
21.8539
25.36
26.2334
20.974
22.7324
25.36
23.6095
26.2334
22.7324
22.7324
22.7324
22.7324
23.6095
21.8539
23.6095
23.6095
22.7324
20.974
25.36
22.7324
21.8539
22.7324
21.8539
23.6095
22.7324
24.4854
23.6095
23.6095
24.4854
23.6095
22.7324
26.2334
24.4854
25.36
23.6095
21.8539
22.7324
21.8539
24.4854
24.4854
21.8539
22.7324
22.7324
21.8539
21.8539
24.4854
22.7324
24.4854
21.8539
22.7324
24.4854
21.8539
26.2334
22.7324
23.6095
27.9767
19.2097
26.2334
22.7324
23.6095
21.8539
27.9767
21.8539
21.8539
20.0926
25.36
21.8539
20.974
22.7324
21.8539
20.0926
27.1056
23.6095
20.974
21.8539
20.0926
22.7324
24.4854
24.4854
23.6095
20.974
22.7324
22.7324
21.8539
24.4854
23.6095
23.6095
20.0926
22.7324
20.0926
24.4854
20.0926
24.4854
23.6095
27.9767
21.8539
27.1056
21.8539
20.0926
23.6095
24.4854
23.6095
25.36
23.6095
21.8539
25.36
21.8539
25.36
27.9767
23.6095
29.7157
23.6095
25.36
23.6095
20.974
17.439
23.6095
23.6095
25.36
20.0926
21.8539
21.8539
24.4854
20.974
20.974
15.6612
20.974
21.8539
21.8539
21.8539
22.7324
21.8539
22.7324
25.36
23.6095
19.2097
23.6095
23.6095
23.6095
20.0926
23.6095
21.8539
24.4854
25.36
22.7324
24.4854
23.6095
30.5836
20.0926
22.7324
24.4854
22.7324
20.974
22.7324
28.8467
22.7324
22.7324
23.6095
25.36
24.4854
20.974
27.1056
24.4854
20.0926
25.36
23.6095
24.4854
22.7324
23.6095
24.4854
27.9767
22.7324
23.6095
26.2334
25.36
22.7324
22.7324
20.0926
20.0926
25.36
24.4854
24.4854
25.36
20.974
21.8539
20.974
20.974
22.7324
27.1056
25.36
21.8539
23.6095
25.36
26.2334
23.6095
20.974
26.2334
24.4854
22.7324
25.36
22.7324
28.8467
20.0926
23.6095
24.4854
25.36
20.0926
19.2097
23.6095
22.7324
27.1056
24.4854
21.8539
25.36
22.7324
18.3252
20.974
20.974
20.0926
20.0926
24.4854
26.2334
23.6095
25.36
21.8539
22.7324
24.4854
23.6095
20.974
22.7324
23.6095
24.4854
25.36
21.8539
22.7324
23.6095
20.0926
23.6095
25.36
26.2334
21.8539
27.1056
25.36
22.7324
23.6095
22.7324
19.2097
26.2334
22.7324
24.4854
23.6095
21.8539
24.4854
20.0926
23.6095
22.7324
25.36
25.36
19.2097
21.8539
25.36
25.36
27.1056
25.36
25.36
24.4854
23.6095
26.2334
22.7324
27.1056
25.36
25.36
24.4854
27.9767
26.2334
26.2334
23.6095
22.7324
21.8539
25.36
24.4854
26.2334
24.4854
21.8539
20.0926
22.7324
23.6095
23.6095
22.7324
22.7324
21.8539
23.6095
25.36
23.6095
27.1056
25.36
24.4854
23.6095
22.7324
23.6095
23.6095
20.974
24.4854
26.2334
20.0926
24.4854
25.36
25.36
24.4854
24.4854
25.36
24.4854
24.4854
26.2334
23.6095
25.36
25.36
22.7324
23.6095
27.1056
21.8539
24.4854
23.6095
25.36
25.36
23.6095
23.6095
21.8539
25.36
27.9767
24.4854
23.6095
23.6095
26.2334
20.0926
25.36
22.7324
25.36
24.4854
26.2334
23.6095
25.36
26.2334
26.2334
25.36
24.4854
24.4854
22.7324
24.4854
24.4854
27.1056
25.36
23.6095
23.6095
24.4854
25.36
28.8467
20.974
21.8539
25.36
23.6095
22.7324
21.8539
28.8467
27.1056
25.36
21.8539
22.7324
24.4854
25.36
24.4854
26.2334
23.6095
24.4854
26.2334
25.36
25.36
25.36
27.9767
24.4854
27.1056
25.36
26.2334
23.6095
25.36
22.7324
24.4854
24.4854
24.4854
20.0926
20.974
24.4854
24.4854
25.36
27.1056
23.6095
27.1056
23.6095
27.1056
24.4854
24.4854
23.6095
22.7324
24.4854
23.6095
24.4854
25.36
23.6095
24.4854
24.4854
24.4854
24.4854
22.7324
21.8539
16.551
25.36
23.6095
25.36
23.6095
22.7324
21.8539
27.9767
27.1056
27.9767
25.36
25.36
24.4854
27.1056
26.2334
24.4854
26.2334
26.2334
26.2334
24.4854
22.7324
20.0926
24.4854
25.36
20.974
26.2334
25.36
25.36
26.2334
27.9767
24.4854
26.2334
20.974
26.2334
25.36
23.6095
27.1056
28.8467
24.4854
22.7324
20.974
27.1056
22.7324
24.4854
25.36
26.2334
26.2334
23.6095
24.4854
26.2334
21.8539
21.8539
25.36
25.36
23.6095
26.2334
24.4854
24.4854
19.2097
20.0926
24.4854
27.1056
26.2334
25.36
24.4854
25.36
22.7324
21.8539
24.4854
25.36
28.8467
24.4854
21.8539
24.4854
27.1056
24.4854
27.1056
24.4854
26.2334
27.1056
20.974
24.4854
26.2334
25.36
26.2334
24.4854
21.8539
22.7324
26.2334
24.4854
22.7324
27.1056
21.8539
20.974
20.974
21.8539
25.36
26.2334
24.4854
24.4854
25.36
27.9767
20.974
29.7157
25.36
24.4854
27.9767
22.7324
27.1056
25.36
24.4854
29.7157
24.4854
20.974
26.2334
19.2097
22.7324
24.4854
23.6095
23.6095
24.4854
24.4854
24.4854
23.6095
26.2334
21.8539
23.6095
25.36
23.6095
24.4854
25.36
24.4854
26.2334
25.36
28.8467
25.36
24.4854
20.0926
20.974
24.4854
26.2334
25.36
25.36
26.2334
22.7324
20.974
27.1056
25.36
21.8539
24.4854
23.6095
24.4854
25.36
25.36
21.8539
22.7324
24.4854
25.36
27.1056
24.4854
26.2334
22.7324
26.2334
24.4854
24.4854
23.6095
25.36
23.6095
27.1056
26.2334
24.4854
26.2334
25.36
20.974
24.4854
24.4854
22.7324
23.6095
19.2097
23.6095
27.9767
26.2334
21.8539
24.4854
23.6095
22.7324
26.2334
24.4854
26.2334
26.2334
20.974
25.36
25.36
21.8539
25.36
25.36
27.1056
25.36
23.6095
20.974
22.7324
24.4854
25.36
27.1056
22.7324
20.974
25.36
26.2334
25.36
20.0926
25.36
22.7324
27.9767
21.8539
25.36
25.36
24.4854
24.4854
24.4854
22.7324
27.9767
22.7324
27.1056
21.8539
22.7324
22.7324
26.2334
27.1056
20.0926
22.7324
26.2334
26.2334
25.36
23.6095
24.4854
25.36
27.1056
21.8539
16.551
22.7324
27.1056
23.6095
21.8539
23.6095
26.2334
27.9767
23.6095
25.36
21.8539
27.1056
19.2097
26.2334
26.2334
23.6095
25.36
23.6095
27.1056
27.1056
24.4854
20.974
25.36
23.6095
25.36
24.4854
21.8539
23.6095
24.4854
24.4854
26.2334
29.7157
25.36
24.4854
24.4854
24.4854
26.2334
24.4854
23.6095
24.4854
21.8539
20.0926
26.2334
19.2097
22.7324
24.4854
25.36
20.0926
24.4854
23.6095
27.1056
21.8539
25.36
23.6095
25.36
21.8539
22.7324
28.8467
23.6095
20.974
28.8467
19.2097
23.6095
21.8539
25.36
24.4854
22.7324
24.4854
25.36
26.2334
25.36
22.7324
23.6095
22.7324
20.974
23.6095
25.36
27.9767
25.36
25.36
22.7324
23.6095
21.8539
23.6095
26.2334
27.1056
21.8539
27.1056
23.6095
22.7324
23.6095
21.8539
20.0926
22.7324
23.6095
21.8539
25.36
24.4854
21.8539
24.4854
27.1056
24.4854
24.4854
24.4854
23.6095
29.7157
20.974
25.36
27.1056
22.7324
22.7324
24.4854
27.1056
22.7324
22.7324
20.974
23.6095
24.4854
20.0926
25.36
23.6095
21.8539
24.4854
22.7324
21.8539
24.4854
21.8539
25.36
26.2334
20.974
25.36
24.4854
26.2334
20.974
20.974
20.0926
22.7324
23.6095
27.1056
24.4854
25.36
22.7324
24.4854
21.8539
22.7324
26.2334
29.7157
25.36
23.6095
23.6095
22.7324
25.36
23.6095
23.6095
25.36
22.7324
23.6095
23.6095
26.2334
22.7324
23.6095
25.36
23.6095
20.974
22.7324
21.8539
23.6095
20.974
26.2334
25.36
25.36
25.36
23.6095
16.551
22.7324
25.36
22.7324
27.9767
24.4854
22.7324
21.8539
25.36
25.36
24.4854
23.6095
22.7324
23.6095
21.8539
26.2334
22.7324
23.6095
23.6095
21.8539
23.6095
23.6095
24.4854
24.4854
24.4854
25.36
22.7324
23.6095
23.6095
25.36
22.7324
27.9767
26.2334
22.7324
25.36
23.6095
23.6095
26.2334
26.2334
20.0926
19.2097
25.36
27.1056
20.974
24.4854
27.1056
23.6095
23.6095
21.8539
23.6095
19.2097
21.8539
22.7324
26.2334
18.3252
21.8539
27.1056
23.6095
27.1056
27.1056
21.8539
23.6095
24.4854
24.4854
22.7324
26.2334
27.9767
22.7324
22.7324
20.974
24.4854
22.7324
21.8539
24.4854
22.7324
23.6095
21.8539
22.7324
25.36
23.6095
20.974
24.4854
22.7324
24.4854
22.7324
23.6095
25.36
24.4854
21.8539
20.974
22.7324
26.2334
25.36
25.36
21.8539
21.8539
25.36
20.974
25.36
27.1056
23.6095
20.0926
20.0926
23.6095
23.6095
21.8539
23.6095
24.4854
23.6095
26.2334
18.3252
21.8539
24.4854
22.7324
22.7324
20.0926
23.6095
23.6095
25.36
21.8539
24.4854
21.8539
25.36
27.9767
28.8467
23.6095
22.7324
24.4854
22.7324
25.36
25.36
22.7324
22.7324
23.6095
22.7324
24.4854
25.36
24.4854
26.2334
23.6095
26.2334
21.8539
23.6095
20.974
20.0926
22.7324
23.6095
24.4854
20.0926
24.4854
22.7324
22.7324
25.36
20.974
22.7324
23.6095
21.8539
20.974
22.7324
21.8539
24.4854
20.974
22.7324
20.974
23.6095
20.974
20.974
27.9767
26.2334
23.6095
23.6095
24.4854
23.6095
26.2334
24.4854
22.7324
23.6095
23.6095
23.6095
20.974
27.1056
24.4854
23.6095
21.8539
24.4854
24.4854
24.4854
23.6095
24.4854
26.2334
25.36
23.6095
20.974
22.7324
30.5836
25.36
23.6095
21.8539
26.2334
24.4854
24.4854
29.7157
21.8539
25.36
26.2334
23.6095
23.6095
25.36
24.4854
27.1056
20.0926
26.2334
26.2334
26.2334
26.2334
29.7157
21.8539
25.36
24.4854
27.1056
25.36
23.6095
25.36
23.6095
25.36
21.8539
28.8467
26.2334
26.2334
22.7324
23.6095
24.4854
23.6095
23.6095
19.2097
22.7324
23.6095
20.974
23.6095
20.974
26.2334
23.6095
22.7324
25.36
24.4854
22.7324
24.4854
19.2097
21.8539
25.36
23.6095
23.6095
27.1056
27.1056
26.2334
22.7324
25.36
27.9767
21.8539
20.0926
25.36
24.4854
25.36
23.6095
25.36
26.2334
25.36
23.6095
21.8539
19.2097
23.6095
26.2334
26.2334
24.4854
24.4854
23.6095
21.8539
22.7324
27.1056
26.2334
27.9767
25.36
26.2334
21.8539
23.6095
24.4854
27.1056
21.8539
20.974
22.7324
24.4854
26.2334
26.2334
24.4854
27.9767
24.4854
27.1056
24.4854
27.1056
20.0926
23.6095
23.6095
23.6095
24.4854
27.1056
25.36
25.36
22.7324
20.0926
25.36
23.6095
25.36
22.7324
27.9767
20.0926
25.36
24.4854
25.36
27.1056
25.36
21.8539
24.4854
25.36
28.8467
24.4854
20.0926
26.2334
24.4854
23.6095
22.7324
21.8539
21.8539
23.6095
22.7324
26.2334
20.0926
25.36
22.7324
22.7324
22.7324
22.7324
21.8539
23.6095
20.0926
23.6095
25.36
22.7324
20.0926
26.2334
26.2334
24.4854
22.7324
23.6095
22.7324
21.8539
23.6095
20.974
27.1056
22.7324
23.6095
20.974
20.0926
23.6095
22.7324
24.4854
22.7324
28.8467
23.6095
20.974
20.0926
24.4854
26.2334
27.1056
26.2334
21.8539
26.2334
21.8539
25.36
25.36
23.6095
26.2334
25.36
26.2334
20.974
21.8539
26.2334
22.7324
25.36
22.7324
25.36
21.8539
24.4854
23.6095
22.7324
22.7324
21.8539
21.8539
24.4854
22.7324
21.8539
23.6095
25.36
23.6095
23.6095
25.36
21.8539
28.8467
21.8539
27.9767
27.1056
22.7324
23.6095
21.8539
25.36
23.6095
26.2334
27.1056
24.4854
24.4854
26.2334
26.2334
24.4854
24.4854
26.2334
21.8539
26.2334
23.6095
21.8539
21.8539
27.1056
22.7324
23.6095
23.6095
22.7324
23.6095
26.2334
22.7324
22.7324
27.9767
24.4854
24.4854
23.6095
21.8539
22.7324
24.4854
20.974
20.974
23.6095
21.8539
24.4854
23.6095
20.974
22.7324
21.8539
22.7324
22.7324
23.6095
24.4854
24.4854
26.2334
22.7324
18.3252
22.7324
25.36
20.974
26.2334
22.7324
23.6095
25.36
22.7324
22.7324
22.7324
21.8539
23.6095
25.36
22.7324
28.8467
25.36
25.36
20.0926
25.36
23.6095
25.36
24.4854
23.6095
23.6095
24.4854
27.9767
21.8539
20.974
25.36
21.8539
27.9767
25.36
25.36
24.4854
21.8539
22.7324
23.6095
24.4854
21.8539
24.4854
21.8539
23.6095
27.1056
24.4854
26.2334
24.4854
24.4854
24.4854
27.9767
25.36
24.4854
21.8539
22.7324
21.8539
26.2334
22.7324
23.6095
21.8539
22.7324
23.6095
21.8539
25.36
24.4854
22.7324
27.1056
21.8539
22.7324
22.7324
22.7324
21.8539
22.7324
27.1056
23.6095
20.974
26.2334
25.36
20.974
25.36
24.4854
23.6095
22.7324
23.6095
25.36
23.6095
27.1056
25.36
27.1056
24.4854
24.4854
23.6095
20.974
22.7324
20.974
20.974
21.8539
21.8539
21.8539
23.6095
23.6095
25.36
26.2334
24.4854
22.7324
22.7324
25.36
24.4854
24.4854
24.4854
23.6095
17.439
25.36
22.7324
22.7324
20.0926
23.6095
18.3252
24.4854
25.36
24.4854
20.974
25.36
22.7324
28.8467
24.4854
26.2334
25.36
21.8539
21.8539
24.4854
26.2334
23.6095
23.6095
22.7324
24.4854
22.7324
21.8539
21.8539
24.4854
25.36
22.7324
22.7324
22.7324
21.8539
21.8539
20.974
24.4854
27.1056
22.7324
20.0926
24.4854
24.4854
25.36
23.6095
21.8539
20.0926
25.36
23.6095
24.4854
23.6095
27.9767
22.7324
22.7324
20.0926
26.2334
21.8539
20.974
23.6095
24.4854
22.7324
21.8539
25.36
22.7324
20.974
27.9767
23.6095
21.8539
22.7324
22.7324
23.6095
20.974
22.7324
22.7324
23.6095
22.7324
24.4854
20.974
25.36
21.8539
20.0926
23.6095
22.7324
25.36
22.7324
21.8539
25.36
26.2334
23.6095
23.6095
23.6095
23.6095
24.4854
23.6095
23.6095
20.974
23.6095
23.6095
21.8539
21.8539
24.4854
21.8539
24.4854
26.2334
21.8539
23.6095
20.0926
23.6095
26.2334
20.0926
21.8539
24.4854
24.4854
24.4854
25.36
24.4854
23.6095
24.4854
26.2334
24.4854
20.0926
27.1056
26.2334
25.36
23.6095
23.6095
21.8539
26.2334
22.7324
21.8539
21.8539
21.8539
21.8539
23.6095
23.6095
20.974
25.36
24.4854
23.6095
25.36
26.2334
21.8539
23.6095
24.4854
24.4854
24.4854
23.6095
25.36
20.974
27.1056
30.5836
23.6095
21.8539
23.6095
24.4854
22.7324
22.7324
23.6095
22.7324
20.974
21.8539
27.1056
22.7324
25.36
24.4854
22.7324
20.974
25.36
22.7324
24.4854
22.7324
27.1056
20.0926
23.6095
22.7324
26.2334
23.6095
20.974
26.2334
24.4854
22.7324
25.36
20.974
26.2334
20.974
22.7324
20.974
27.9767
25.36
22.7324
21.8539
20.974
20.974
22.7324
20.974
26.2334
25.36
26.2334
20.974
22.7324
24.4854
25.36
26.2334
24.4854
22.7324
24.4854
23.6095
24.4854
27.9767
23.6095
23.6095
27.1056
22.7324
26.2334
26.2334
21.8539
23.6095
23.6095
21.8539
21.8539
23.6095
23.6095
27.1056
20.0926
25.36
27.9767
21.8539
20.0926
21.8539
24.4854
20.974
26.2334
22.7324
19.2097
22.7324
26.2334
20.0926
23.6095
20.0926
25.36
21.8539
24.4854
22.7324
20.974
24.4854
24.4854
26.2334
19.2097
23.6095
27.1056
22.7324
27.9767
23.6095
23.6095
22.7324
24.4854
22.7324
25.36
29.7157
25.36
24.4854
26.2334
27.9767
20.974
23.6095
22.7324
24.4854
27.1056
22.7324
25.36
23.6095
20.974
20.0926
22.7324
20.974
15.6612
23.6095
26.2334
20.974
20.0926
22.7324
27.9767
20.974
23.6095
22.7324
21.8539
23.6095
24.4854
26.2334
24.4854
24.4854
25.36
20.0926
26.2334
26.2334
20.974
22.7324
23.6095
22.7324
22.7324
23.6095
21.8539
26.2334
23.6095
25.36
22.7324
20.974
22.7324
23.6095
28.8467
20.0926
25.36
22.7324
27.1056
20.0926
22.7324
23.6095
26.2334
27.9767
22.7324
25.36
23.6095
18.3252
24.4854
26.2334
28.8467
23.6095
22.7324
20.0926
23.6095
25.36
24.4854
27.1056
25.36
24.4854
24.4854
23.6095
22.7324
23.6095
20.974
22.7324
21.8539
20.974
23.6095
24.4854
25.36
21.8539
24.4854
25.36
21.8539
23.6095
24.4854
22.7324
23.6095
23.6095
23.6095
20.974
24.4854
24.4854
20.974
22.7324
22.7324
22.7324
29.7157
24.4854
22.7324
22.7324
25.36
22.7324
20.974
23.6095
26.2334
22.7324
27.1056
26.2334
21.8539
23.6095
22.7324
20.0926
20.974
22.7324
25.36
22.7324
27.1056
19.2097
24.4854
27.1056
25.36
20.974
24.4854
24.4854
22.7324
25.36
23.6095
25.36
24.4854
24.4854
22.7324
20.0926
20.974
23.6095
25.36
26.2334
24.4854
23.6095
18.3252
19.2097
24.4854
24.4854
23.6095
20.0926
23.6095
25.36
21.8539
22.7324
22.7324
19.2097
25.36
24.4854
23.6095
22.7324
23.6095
23.6095
22.7324
24.4854
22.7324
23.6095
24.4854
24.4854
20.974
22.7324
23.6095
24.4854
23.6095
22.7324
27.9767
27.9767
26.2334
21.8539
21.8539
23.6095
21.8539
22.7324
24.4854
22.7324
20.974
24.4854
25.36
22.7324
24.4854
27.9767
21.8539
22.7324
24.4854
28.8467
25.36
21.8539
21.8539
20.974
27.1056
20.0926
20.974
22.7324
26.2334
23.6095
22.7324
21.8539
20.974
25.36
21.8539
24.4854
26.2334
20.0926
20.974
20.0926
23.6095
22.7324
21.8539
20.974
22.7324
23.6095
21.8539
23.6095
23.6095
27.1056
21.8539
25.36
17.439
25.36
24.4854
21.8539
25.36
25.36
20.974
22.7324
21.8539
24.4854
22.7324
24.4854
25.36
24.4854
20.0926
23.6095
24.4854
22.7324
21.8539
22.7324
24.4854
23.6095
25.36
22.7324
20.974
22.7324
22.7324
23.6095
25.36
23.6095
20.974
23.6095
19.2097
21.8539
25.36
25.36
20.974
22.7324
26.2334
20.974
18.3252
25.36
23.6095
22.7324
24.4854
22.7324
23.6095
27.9767
23.6095
24.4854
23.6095
23.6095
22.7324
22.7324
24.4854
23.6095
25.36
24.4854
25.36
20.974
23.6095
22.7324
23.6095
24.4854
23.6095
20.974
25.36
27.9767
30.5836
23.6095
24.4854
23.6095
26.2334
21.8539
21.8539
22.7324
22.7324
22.7324
20.0926
22.7324
20.0926
20.974
21.8539
23.6095
24.4854
27.9767
22.7324
25.36
20.974
25.36
27.1056
24.4854
24.4854
21.8539
24.4854
26.2334
22.7324
25.36
24.4854
22.7324
20.974
25.36
22.7324
24.4854
23.6095
19.2097
23.6095
22.7324
22.7324
22.7324
24.4854
21.8539
28.8467
25.36
24.4854
21.8539
20.974
23.6095
21.8539
20.0926
23.6095
22.7324
21.8539
21.8539
23.6095
21.8539
22.7324
23.6095
22.7324
22.7324
20.974
21.8539
23.6095
23.6095
22.7324
21.8539
22.7324
25.36
22.7324
18.3252
24.4854
21.8539
21.8539
25.36
22.7324
22.7324
24.4854
20.974
20.0926
22.7324
21.8539
22.7324
23.6095
23.6095
25.36
23.6095
21.8539
25.36
20.974
22.7324
27.1056
26.2334
25.36
25.36
23.6095
24.4854
27.1056
23.6095
24.4854
24.4854
23.6095
22.7324
24.4854
24.4854
24.4854
24.4854
23.6095
22.7324
23.6095
22.7324
23.6095
25.36
21.8539
23.6095
23.6095
27.1056
23.6095
20.974
27.1056
23.6095
24.4854
23.6095
24.4854
26.2334
22.7324
20.974
24.4854
23.6095
23.6095
22.7324
20.974
25.36
21.8539
20.0926
23.6095
23.6095
24.4854
23.6095
21.8539
26.2334
22.7324
24.4854
22.7324
24.4854
22.7324
20.974
20.974
24.4854
25.36
21.8539
24.4854
27.1056
22.7324
20.0926
24.4854
22.7324
26.2334
28.8467
23.6095
21.8539
22.7324
23.6095
20.0926
26.2334
20.974
22.7324
22.7324
23.6095
20.974
25.36
21.8539
22.7324
24.4854
24.4854
23.6095
23.6095
23.6095
27.1056
27.1056
26.2334
25.36
21.8539
24.4854
22.7324
19.2097
24.4854
21.8539
21.8539
27.9767
21.8539
23.6095
20.0926
22.7324
21.8539
25.36
21.8539
21.8539
20.0926
19.2097
20.0926
25.36
24.4854
23.6095
24.4854
23.6095
20.974
22.7324
25.36
21.8539
23.6095
24.4854
20.974
23.6095
21.8539
24.4854
20.974
25.36
19.2097
22.7324
21.8539
23.6095
27.9767
24.4854
25.36
24.4854
21.8539
23.6095
25.36
23.6095
23.6095
27.1056
27.9767
22.7324
21.8539
20.0926
26.2334
21.8539
26.2334
23.6095
22.7324
25.36
23.6095
23.6095
24.4854
24.4854
23.6095
20.974
21.8539
21.8539
23.6095
23.6095
25.36
21.8539
26.2334
20.0926
24.4854
26.2334
23.6095
23.6095
20.974
23.6095
20.974
22.7324
25.36
26.2334
26.2334
23.6095
23.6095
27.1056
23.6095
24.4854
26.2334
23.6095
21.8539
24.4854
27.1056
22.7324
22.7324
25.36
23.6095
21.8539
24.4854
24.4854
26.2334
27.9767
23.6095
22.7324
24.4854
21.8539
23.6095
20.0926
24.4854
21.8539
21.8539
22.7324
25.36
21.8539
23.6095
26.2334
26.2334
23.6095
22.7324
21.8539
21.8539
21.8539
25.36
20.0926
20.974
24.4854
23.6095
25.36
27.9767
27.1056
24.4854
23.6095
22.7324
25.36
25.36
21.8539
25.36
23.6095
20.0926
24.4854
23.6095
22.7324
27.9767
14.7693
24.4854
29.7157
21.8539
21.8539
21.8539
26.2334
24.4854
20.0926
20.974
21.8539
24.4854
24.4854
24.4854
22.7324
29.7157
24.4854
25.36
24.4854
23.6095
27.1056
22.7324
24.4854
20.974
27.1056
26.2334
24.4854
21.8539
29.7157
26.2334
26.2334
20.974
20.0926
22.7324
20.974
27.1056
27.1056
22.7324
24.4854
20.0926
22.7324
22.7324
27.9767
20.974
25.36
24.4854
24.4854
24.4854
21.8539
27.1056
25.36
26.2334
22.7324
27.9767
23.6095
21.8539
29.7157
24.4854
25.36
23.6095
25.36
24.4854
25.36
27.1056
22.7324
27.9767
27.1056
25.36
25.36
22.7324
27.1056
24.4854
23.6095
26.2334
26.2334
24.4854
25.36
21.8539
24.4854
19.2097
22.7324
22.7324
25.36
19.2097
23.6095
26.2334
22.7324
26.2334
18.3252
22.7324
22.7324
19.2097
23.6095
22.7324
21.8539
19.2097
23.6095
27.9767
20.974
21.8539
20.974
26.2334
23.6095
22.7324
26.2334
20.974
20.0926
21.8539
20.0926
27.1056
27.9767
24.4854
20.974
19.2097
24.4854
22.7324
27.9767
25.36
22.7324
22.7324
25.36
23.6095
24.4854
21.8539
25.36
21.8539
23.6095
21.8539
27.1056
24.4854
27.1056
24.4854
25.36
27.9767
22.7324
24.4854
23.6095
20.0926
26.2334
26.2334
24.4854
22.7324
25.36
20.974
24.4854
22.7324
26.2334
24.4854
19.2097
23.6095
22.7324
28.8467
24.4854
22.7324
26.2334
22.7324
24.4854
24.4854
20.974
24.4854
20.0926
24.4854
22.7324
23.6095
26.2334
25.36
25.36
23.6095
27.1056
16.551
20.974
24.4854
24.4854
20.974
27.1056
26.2334
26.2334
20.0926
22.7324
24.4854
21.8539
21.8539
26.2334
23.6095
27.1056
20.0926
25.36
31.4505
26.2334
24.4854
26.2334
22.7324
27.9767
21.8539
23.6095
24.4854
25.36
21.8539
26.2334
22.7324
22.7324
22.7324
29.7157
21.8539
20.974
24.4854
24.4854
29.7157
26.2334
22.7324
23.6095
27.1056
24.4854
25.36
23.6095
25.36
26.2334
22.7324
22.7324
23.6095
26.2334
18.3252
23.6095
22.7324
23.6095
21.8539
25.36
27.1056
23.6095
25.36
28.8467
20.974
23.6095
23.6095
26.2334
22.7324
21.8539
27.1056
27.1056
22.7324
20.974
24.4854
23.6095
21.8539
25.36
22.7324
26.2334
26.2334
22.7324
24.4854
23.6095
23.6095
27.9767
27.1056
27.9767
23.6095
23.6095
23.6095
23.6095
22.7324
24.4854
23.6095
26.2334
28.8467
30.5836
27.9767
24.4854
24.4854
23.6095
22.7324
23.6095
26.2334
25.36
23.6095
25.36
22.7324
24.4854
21.8539
23.6095
25.36
22.7324
20.974
24.4854
23.6095
25.36
21.8539
25.36
24.4854
22.7324
27.1056
21.8539
26.2334
21.8539
23.6095
27.9767
23.6095
23.6095
22.7324
20.974
20.974
23.6095
20.0926
25.36
24.4854
22.7324
24.4854
22.7324
25.36
23.6095
23.6095
23.6095
26.2334
26.2334
20.974
24.4854
25.36
27.1056
23.6095
22.7324
23.6095
19.2097
21.8539
22.7324
23.6095
23.6095
22.7324
23.6095
21.8539
25.36
24.4854
26.2334
25.36
23.6095
20.0926
27.1056
24.4854
22.7324
23.6095
25.36
23.6095
20.974
20.974
18.3252
23.6095
21.8539
23.6095
24.4854
25.36
26.2334
24.4854
27.9767
26.2334
25.36
22.7324
21.8539
22.7324
21.8539
22.7324
24.4854
22.7324
27.9767
26.2334
25.36
25.36
21.8539
21.8539
23.6095
19.2097
20.0926
28.8467
22.7324
22.7324
20.974
24.4854
27.1056
20.974
20.0926
22.7324
27.9767
27.1056
24.4854
27.1056
23.6095
22.7324
21.8539
25.36
27.1056
25.36
27.9767
27.1056
25.36
22.7324
26.2334
22.7324
25.36
23.6095
25.36
20.974
27.9767
27.1056
18.3252
24.4854
22.7324
27.1056
23.6095
22.7324
22.7324
22.7324
21.8539
21.8539
23.6095
22.7324
27.1056
24.4854
25.36
22.7324
23.6095
25.36
23.6095
23.6095
23.6095
20.0926
24.4854
24.4854
24.4854
26.2334
24.4854
21.8539
23.6095
21.8539
22.7324
26.2334
29.7157
25.36
20.974
22.7324
25.36
20.974
24.4854
22.7324
25.36
18.3252
24.4854
21.8539
25.36
21.8539
20.974
26.2334
25.36
25.36
23.6095
27.9767
24.4854
20.974
25.36
27.9767
24.4854
22.7324
27.1056
27.1056
24.4854
26.2334
23.6095
23.6095
26.2334
25.36
25.36
27.9767
24.4854
23.6095
25.36
20.974
21.8539
20.974
22.7324
24.4854
27.1056
24.4854
19.2097
21.8539
20.0926
21.8539
23.6095
27.1056
21.8539
22.7324
23.6095
25.36
23.6095
20.974
24.4854
23.6095
23.6095
23.6095
25.36
26.2334
20.0926
27.1056
23.6095
25.36
23.6095
20.974
24.4854
25.36
20.974
24.4854
19.2097
23.6095
23.6095
23.6095
22.7324
24.4854
22.7324
25.36
24.4854
26.2334
23.6095
23.6095
25.36
25.36
25.36
21.8539
21.8539
26.2334
25.36
19.2097
25.36
27.9767
24.4854
22.7324
25.36
25.36
26.2334
25.36
22.7324
27.1056
23.6095
22.7324
27.9767
23.6095
21.8539
25.36
24.4854
21.8539
24.4854
22.7324
22.7324
22.7324
22.7324
22.7324
22.7324
20.0926
20.974
19.2097
23.6095
22.7324
25.36
27.1056
25.36
23.6095
25.36
23.6095
23.6095
22.7324
22.7324
22.7324
27.1056
22.7324
25.36
25.36
22.7324
23.6095
21.8539
28.8467
21.8539
22.7324
20.974
25.36
26.2334
20.974
25.36
27.9767
27.1056
25.36
21.8539
22.7324
27.1056
20.974
25.36
22.7324
22.7324
20.974
26.2334
20.974
22.7324
20.974
26.2334
20.0926
26.2334
23.6095
22.7324
22.7324
25.36
22.7324
24.4854
24.4854
24.4854
27.1056
27.1056
24.4854
27.1056
23.6095
24.4854
26.2334
28.8467
25.36
22.7324
24.4854
20.974
23.6095
23.6095
21.8539
20.974
23.6095
24.4854
23.6095
24.4854
26.2334
22.7324
24.4854
22.7324
25.36
29.7157
20.974
21.8539
22.7324
25.36
23.6095
26.2334
25.36
22.7324
23.6095
23.6095
25.36
22.7324
21.8539
20.0926
20.974
23.6095
24.4854
21.8539
21.8539
23.6095
27.9767
24.4854
20.974
25.36
22.7324
26.2334
25.36
23.6095
24.4854
22.7324
20.974
22.7324
24.4854
24.4854
24.4854
22.7324
22.7324
23.6095
23.6095
25.36
20.0926
24.4854
20.974
23.6095
20.974
23.6095
25.36
21.8539
20.0926
23.6095
21.8539
20.0926
25.36
26.2334
22.7324
21.8539
20.0926
24.4854
23.6095
21.8539
22.7324
24.4854
27.9767
24.4854
26.2334
27.9767
25.36
20.0926
21.8539
20.974
21.8539
20.0926
25.36
24.4854
24.4854
19.2097
21.8539
21.8539
23.6095
21.8539
30.5836
23.6095
24.4854
23.6095
21.8539
22.7324
20.974
25.36
26.2334
22.7324
24.4854
19.2097
23.6095
21.8539
23.6095
22.7324
26.2334
23.6095
20.974
26.2334
23.6095
22.7324
23.6095
24.4854
22.7324
21.8539
21.8539
21.8539
27.1056
22.7324
25.36
27.1056
22.7324
24.4854
21.8539
28.8467
25.36
25.36
27.9767
27.1056
27.1056
29.7157
27.9767
23.6095
21.8539
26.2334
25.36
22.7324
27.1056
22.7324
26.2334
24.4854
23.6095
28.8467
24.4854
21.8539
22.7324
21.8539
25.36
22.7324
26.2334
29.7157
25.36
26.2334
26.2334
26.2334
20.974
23.6095
24.4854
25.36
23.6095
21.8539
21.8539
25.36
23.6095
24.4854
23.6095
22.7324
25.36
21.8539
22.7324
27.1056
23.6095
24.4854
26.2334
27.1056
27.1056
23.6095
20.0926
24.4854
21.8539
23.6095
25.36
25.36
21.8539
27.9767
25.36
21.8539
21.8539
20.974
23.6095
24.4854
23.6095
25.36
24.4854
25.36
25.36
22.7324
28.8467
23.6095
27.1056
24.4854
22.7324
22.7324
18.3252
27.1056
25.36
20.974
26.2334
22.7324
23.6095
22.7324
25.36
23.6095
23.6095
24.4854
21.8539
23.6095
22.7324
25.36
22.7324
22.7324
22.7324
27.1056
23.6095
21.8539
21.8539
25.36
22.7324
23.6095
24.4854
20.0926
24.4854
24.4854
22.7324
23.6095
22.7324
22.7324
21.8539
25.36
25.36
23.6095
21.8539
20.974
23.6095
25.36
24.4854
20.0926
24.4854
24.4854
21.8539
26.2334
23.6095
20.974
21.8539
23.6095
24.4854
25.36
23.6095
20.974
24.4854
24.4854
22.7324
24.4854
25.36
22.7324
23.6095
25.36
27.9767
24.4854
22.7324
20.974
22.7324
19.2097
21.8539
20.974
25.36
23.6095
23.6095
23.6095
21.8539
21.8539
24.4854
20.974
22.7324
25.36
26.2334
26.2334
22.7324
20.974
21.8539
21.8539
26.2334
23.6095
22.7324
23.6095
24.4854
21.8539
22.7324
20.974
21.8539
23.6095
22.7324
19.2097
26.2334
21.8539
24.4854
25.36
27.9767
22.7324
23.6095
23.6095
23.6095
26.2334
23.6095
23.6095
27.1056
21.8539
22.7324
23.6095
25.36
19.2097
20.974
26.2334
27.1056
22.7324
27.9767
23.6095
17.439
27.1056
23.6095
21.8539
21.8539
24.4854
26.2334
24.4854
20.0926
27.9767
25.36
25.36
20.974
27.1056
23.6095
27.9767
27.9767
26.2334
22.7324
24.4854
23.6095
23.6095
23.6095
24.4854
21.8539
22.7324
20.974
22.7324
21.8539
24.4854
20.0926
24.4854
25.36
26.2334
23.6095
27.1056
25.36
22.7324
24.4854
26.2334
27.1056
19.2097
22.7324
25.36
21.8539
26.2334
25.36
22.7324
20.974
24.4854
25.36
24.4854
26.2334
25.36
19.2097
23.6095
22.7324
21.8539
24.4854
24.4854
23.6095
24.4854
20.0926
22.7324
27.1056
20.974
25.36
24.4854
26.2334
23.6095
20.0926
17.439
22.7324
24.4854
21.8539
27.1056
25.36
29.7157
24.4854
25.36
22.7324
20.974
21.8539
21.8539
24.4854
21.8539
23.6095
26.2334
27.9767
25.36
27.1056
27.1056
20.974
25.36
25.36
29.7157
27.1056
23.6095
25.36
27.1056
22.7324
22.7324
21.8539
20.974
27.1056
24.4854
25.36
27.1056
28.8467
24.4854
25.36
24.4854
24.4854
24.4854
22.7324
22.7324
24.4854
26.2334
22.7324
24.4854
25.36
23.6095
24.4854
24.4854
25.36
21.8539
21.8539
24.4854
29.7157
27.1056
27.1056
26.2334
27.1056
26.2334
25.36
27.1056
24.4854
22.7324
25.36
27.1056
21.8539
26.2334
25.36
24.4854
22.7324
23.6095
18.3252
27.9767
27.1056
26.2334
22.7324
21.8539
18.3252
28.8467
23.6095
20.974
27.9767
22.7324
28.8467
24.4854
21.8539
29.7157
27.1056
22.7324
20.974
26.2334
27.1056
25.36
24.4854
26.2334
23.6095
25.36
25.36
20.974
28.8467
28.8467
26.2334
26.2334
25.36
24.4854
24.4854
28.8467
23.6095
26.2334
27.1056
26.2334
27.9767
27.9767
24.4854
26.2334
24.4854
24.4854
25.36
25.36
21.8539
22.7324
27.1056
27.9767
23.6095
23.6095
26.2334
22.7324
27.1056
25.36
26.2334
27.1056
25.36
27.9767
27.1056
26.2334
24.4854
27.1056
25.36
23.6095
26.2334
27.9767
22.7324
25.36
30.5836
26.2334
26.2334
22.7324
21.8539
21.8539
24.4854
19.2097
22.7324
26.2334
26.2334
27.9767
24.4854
27.9767
27.9767
24.4854
25.36
24.4854
24.4854
23.6095
23.6095
27.1056
26.2334
24.4854
26.2334
26.2334
24.4854
24.4854
26.2334
23.6095
24.4854
22.7324
23.6095
26.2334
27.9767
28.8467
27.1056
23.6095
22.7324
23.6095
24.4854
21.8539
27.1056
23.6095
22.7324
26.2334
25.36
21.8539
21.8539
23.6095
27.1056
24.4854
26.2334
26.2334
23.6095
23.6095
26.2334
27.1056
20.974
23.6095
21.8539
27.1056
25.36
20.974
23.6095
25.36
26.2334
27.1056
25.36
25.36
30.5836
20.0926
25.36
25.36
26.2334
26.2334
24.4854
23.6095
24.4854
22.7324
22.7324
26.2334
24.4854
25.36
26.2334
23.6095
26.2334
25.36
23.6095
26.2334
27.1056
25.36
26.2334
17.439
21.8539
24.4854
16.551
24.4854
23.6095
24.4854
22.7324
22.7324
20.0926
28.8467
23.6095
26.2334
27.1056
23.6095
25.36
26.2334
23.6095
26.2334
20.974
26.2334
32.3165
26.2334
27.9767
26.2334
20.974
27.9767
25.36
20.974
27.9767
33.1816
21.8539
27.1056
27.1056
24.4854
23.6095
22.7324
24.4854
26.2334
24.4854
24.4854
25.36
24.4854
24.4854
21.8539
24.4854
25.36
27.9767
27.1056
27.9767
27.1056
21.8539
25.36
27.9767
26.2334
32.3165
29.7157
28.8467
23.6095
24.4854
28.8467
23.6095
22.7324
24.4854
24.4854
27.1056
21.8539
27.1056
23.6095
24.4854
24.4854
26.2334
23.6095
25.36
27.9767
28.8467
26.2334
29.7157
27.1056
26.2334
23.6095
25.36
24.4854
26.2334
25.36
24.4854
26.2334
23.6095
26.2334
24.4854
28.8467
27.9767
27.1056
23.6095
20.0926
26.2334
21.8539
24.4854
27.9767
27.1056
28.8467
27.1056
25.36
24.4854
25.36
24.4854
22.7324
26.2334
23.6095
19.2097
23.6095
22.7324
25.36
24.4854
26.2334
24.4854
27.1056
27.1056
23.6095
24.4854
27.1056
27.1056
25.36
20.974
22.7324
27.9767
22.7324
20.974
24.4854
22.7324
26.2334
23.6095
27.1056
24.4854
28.8467
25.36
23.6095
26.2334
26.2334
24.4854
25.36
25.36
24.4854
26.2334
25.36
26.2334
21.8539
21.8539
19.2097
27.1056
20.974
25.36
25.36
31.4505
25.36
24.4854
26.2334
28.8467
26.2334
24.4854
25.36
26.2334
27.1056
22.7324
25.36
26.2334
22.7324
27.9767
25.36
22.7324
27.9767
26.2334
22.7324
24.4854
24.4854
24.4854
21.8539
25.36
27.9767
27.9767
27.1056
24.4854
24.4854
21.8539
23.6095
25.36
24.4854
24.4854
27.9767
27.1056
25.36
24.4854
21.8539
23.6095
21.8539
24.4854
27.1056
20.0926
25.36
25.36
26.2334
26.2334
27.1056
24.4854
20.974
25.36
24.4854
26.2334
25.36
24.4854
25.36
22.7324
24.4854
25.36
25.36
21.8539
20.974
23.6095
25.36
27.1056
27.9767
26.2334
20.0926
22.7324
22.7324
25.36
22.7324
27.1056
25.36
26.2334
25.36
22.7324
27.1056
26.2334
28.8467
24.4854
23.6095
24.4854
26.2334
22.7324
24.4854
23.6095
22.7324
27.1056
27.1056
24.4854
25.36
25.36
27.9767
25.36
25.36
21.8539
22.7324
27.9767
27.9767
23.6095
22.7324
25.36
25.36
20.0926
21.8539
16.551
19.2097
23.6095
23.6095
21.8539
24.4854
23.6095
26.2334
27.1056
27.1056
18.3252
24.4854
23.6095
21.8539
26.2334
24.4854
20.974
23.6095
22.7324
25.36
21.8539
23.6095
21.8539
22.7324
22.7324
21.8539
23.6095
21.8539
25.36
22.7324
25.36
18.3252
20.0926
23.6095
23.6095
22.7324
22.7324
20.974
18.3252
21.8539
21.8539
24.4854
23.6095
21.8539
24.4854
21.8539
22.7324
19.2097
21.8539
23.6095
26.2334
21.8539
25.36
23.6095
26.2334
24.4854
20.0926
23.6095
24.4854
24.4854
20.0926
22.7324
22.7324
26.2334
23.6095
22.7324
22.7324
22.7324
22.7324
18.3252
22.7324
22.7324
23.6095
20.974
22.7324
23.6095
25.36
24.4854
22.7324
21.8539
23.6095
23.6095
22.7324
24.4854
25.36
26.2334
24.4854
24.4854
23.6095
21.8539
22.7324
23.6095
22.7324
21.8539
21.8539
23.6095
27.1056
26.2334
25.36
24.4854
22.7324
23.6095
24.4854
27.1056
25.36
21.8539
20.974
24.4854
22.7324
25.36
25.36
21.8539
22.7324
24.4854
22.7324
21.8539
24.4854
20.974
18.3252
24.4854
23.6095
23.6095
24.4854
24.4854
25.36
23.6095
29.7157
22.7324
23.6095
22.7324
24.4854
26.2334
22.7324
22.7324
22.7324
23.6095
21.8539
21.8539
21.8539
22.7324
22.7324
24.4854
25.36
26.2334
23.6095
22.7324
26.2334
25.36
24.4854
20.0926
23.6095
25.36
24.4854
23.6095
22.7324
23.6095
23.6095
25.36
25.36
19.2097
21.8539
22.7324
26.2334
26.2334
22.7324
22.7324
24.4854
22.7324
26.2334
25.36
25.36
27.1056
25.36
22.7324
26.2334
23.6095
22.7324
25.36
23.6095
23.6095
21.8539
20.974
20.974
20.974
19.2097
22.7324
20.974
25.36
27.9767
25.36
26.2334
24.4854
24.4854
22.7324
26.2334
22.7324
25.36
25.36
23.6095
22.7324
25.36
22.7324
23.6095
22.7324
22.7324
22.7324
25.36
20.974
22.7324
23.6095
23.6095
20.974
24.4854
22.7324
20.974
23.6095
17.439
23.6095
23.6095
20.974
24.4854
23.6095
23.6095
18.3252
25.36
24.4854
21.8539
20.974
22.7324
22.7324
23.6095
24.4854
24.4854
23.6095
22.7324
20.974
22.7324
20.974
25.36
25.36
24.4854
23.6095
23.6095
21.8539
20.974
26.2334
25.36
26.2334
16.551
22.7324
20.974
18.3252
24.4854
20.0926
26.2334
24.4854
25.36
25.36
24.4854
22.7324
22.7324
21.8539
23.6095
16.551
22.7324
22.7324
21.8539
22.7324
24.4854
23.6095
26.2334
22.7324
21.8539
24.4854
22.7324
21.8539
24.4854
18.3252
22.7324
25.36
24.4854
23.6095
21.8539
24.4854
22.7324
22.7324
21.8539
23.6095
23.6095
21.8539
23.6095
24.4854
24.4854
23.6095
24.4854
22.7324
23.6095
22.7324
23.6095
18.3252
20.974
21.8539
22.7324
25.36
21.8539
24.4854
22.7324
23.6095
23.6095
20.0926
23.6095
23.6095
24.4854
21.8539
21.8539
21.8539
21.8539
20.974
24.4854
23.6095
24.4854
25.36
24.4854
24.4854
20.974
25.36
23.6095
20.974
23.6095
20.0926
21.8539
25.36
20.0926
23.6095
23.6095
25.36
26.2334
20.0926
23.6095
24.4854
24.4854
23.6095
24.4854
25.36
23.6095
20.974
25.36
23.6095
23.6095
21.8539
23.6095
20.974
25.36
20.974
23.6095
23.6095
22.7324
23.6095
27.1056
24.4854
21.8539
23.6095
23.6095
23.6095
22.7324
21.8539
20.974
23.6095
25.36
24.4854
26.2334
25.36
22.7324
22.7324
21.8539
21.8539
22.7324
19.2097
24.4854
24.4854
22.7324
23.6095
25.36
23.6095
20.0926
24.4854
21.8539
22.7324
21.8539
25.36
21.8539
23.6095
25.36
22.7324
24.4854
24.4854
22.7324
24.4854
22.7324
23.6095
24.4854
18.3252
24.4854
21.8539
23.6095
23.6095
23.6095
19.2097
22.7324
22.7324
22.7324
23.6095
24.4854
21.8539
27.1056
23.6095
24.4854
22.7324
23.6095
25.36
21.8539
24.4854
26.2334
23.6095
22.7324
23.6095
23.6095
22.7324
23.6095
23.6095
24.4854
24.4854
21.8539
21.8539
21.8539
22.7324
23.6095
20.974
20.974
24.4854
25.36
23.6095
20.974
21.8539
24.4854
23.6095
23.6095
20.974
22.7324
24.4854
21.8539
23.6095
20.974
24.4854
22.7324
19.2097
23.6095
23.6095
22.7324
22.7324
19.2097
21.8539
17.439
21.8539
22.7324
22.7324
22.7324
21.8539
26.2334
23.6095
24.4854
24.4854
23.6095
23.6095
22.7324
23.6095
21.8539
23.6095
18.3252
24.4854
20.974
22.7324
23.6095
22.7324
23.6095
20.0926
20.974
21.8539
24.4854
21.8539
21.8539
22.7324
23.6095
22.7324
26.2334
20.974
21.8539
25.36
20.974
20.974
27.1056
24.4854
26.2334
20.0926
21.8539
22.7324
23.6095
23.6095
25.36
25.36
20.0926
23.6095
20.0926
23.6095
23.6095
20.974
24.4854
23.6095
22.7324
22.7324
23.6095
27.1056
22.7324
25.36
23.6095
22.7324
24.4854
22.7324
22.7324
27.9767
22.7324
20.974
23.6095
23.6095
23.6095
23.6095
25.36
23.6095
24.4854
20.0926
26.2334
21.8539
26.2334
22.7324
26.2334
23.6095
22.7324
23.6095
22.7324
20.974
25.36
24.4854
22.7324
22.7324
23.6095
24.4854
21.8539
21.8539
23.6095
21.8539
24.4854
23.6095
22.7324
23.6095
23.6095
22.7324
21.8539
20.974
22.7324
24.4854
24.4854
23.6095
22.7324
27.1056
24.4854
22.7324
22.7324
23.6095
21.8539
21.8539
25.36
25.36
22.7324
22.7324
24.4854
20.0926
25.36
22.7324
25.36
25.36
21.8539
22.7324
22.7324
26.2334
21.8539
23.6095
26.2334
25.36
23.6095
24.4854
20.974
24.4854
24.4854
22.7324
24.4854
22.7324
24.4854
21.8539
22.7324
21.8539
24.4854
24.4854
17.439
21.8539
22.7324
23.6095
20.974
23.6095
22.7324
23.6095
22.7324
26.2334
22.7324
25.36
24.4854
21.8539
21.8539
22.7324
20.974
24.4854
20.974
20.974
22.7324
21.8539
24.4854
21.8539
20.974
20.974
21.8539
24.4854
22.7324
21.8539
20.974
23.6095
25.36
24.4854
29.7157
25.36
24.4854
22.7324
23.6095
20.0926
22.7324
23.6095
22.7324
26.2334
25.36
22.7324
23.6095
25.36
23.6095
27.1056
24.4854
25.36
21.8539
23.6095
24.4854
20.974
21.8539
20.974
22.7324
24.4854
20.974
25.36
22.7324
22.7324
24.4854
29.7157
21.8539
24.4854
24.4854
25.36
20.974
20.0926
22.7324
22.7324
20.974
23.6095
25.36
20.974
20.974
20.0926
25.36
19.2097
26.2334
18.3252
22.7324
20.974
22.7324
24.4854
25.36
24.4854
20.974
25.36
24.4854
21.8539
22.7324
22.7324
20.974
23.6095
22.7324
17.439
21.8539
21.8539
20.974
23.6095
26.2334
26.2334
24.4854
22.7324
24.4854
19.2097
21.8539
24.4854
22.7324
24.4854
21.8539
24.4854
25.36
26.2334
21.8539
20.0926
26.2334
21.8539
20.0926
25.36
24.4854
26.2334
24.4854
23.6095
23.6095
20.974
23.6095
24.4854
21.8539
21.8539
21.8539
26.2334
25.36
25.36
23.6095
25.36
19.2097
22.7324
23.6095
25.36
25.36
26.2334
20.974
20.974
24.4854
23.6095
22.7324
19.2097
24.4854
25.36
21.8539
22.7324
23.6095
25.36
27.1056
23.6095
23.6095
23.6095
21.8539
23.6095
24.4854
25.36
25.36
19.2097
24.4854
22.7324
25.36
21.8539
21.8539
23.6095
23.6095
23.6095
22.7324
24.4854
20.974
23.6095
22.7324
23.6095
22.7324
23.6095
20.0926
21.8539
18.3252
23.6095
27.9767
20.974
23.6095
25.36
22.7324
21.8539
24.4854
23.6095
24.4854
20.0926
21.8539
23.6095
20.974
23.6095
23.6095
20.974
22.7324
20.0926
22.7324
23.6095
20.0926
22.7324
23.6095
25.36
20.974
25.36
23.6095
22.7324
24.4854
27.9767
24.4854
24.4854
23.6095
22.7324
22.7324
26.2334
22.7324
20.974
22.7324
20.974
22.7324
24.4854
23.6095
22.7324
25.36
26.2334
22.7324
26.2334
20.0926
23.6095
22.7324
22.7324
20.974
22.7324
21.8539
23.6095
24.4854
20.974
20.0926
25.36
22.7324
23.6095
22.7324
24.4854
23.6095
23.6095
23.6095
20.974
20.974
24.4854
20.974
23.6095
22.7324
21.8539
20.974
22.7324
24.4854
20.974
24.4854
23.6095
23.6095
25.36
22.7324
23.6095
23.6095
23.6095
22.7324
24.4854
20.974
24.4854
23.6095
22.7324
23.6095
24.4854
22.7324
20.974
21.8539
23.6095
24.4854
20.974
21.8539
20.974
21.8539
21.8539
24.4854
24.4854
22.7324
22.7324
22.7324
23.6095
22.7324
20.974
23.6095
23.6095
23.6095
21.8539
27.9767
20.0926
22.7324
24.4854
23.6095
21.8539
23.6095
22.7324
22.7324
23.6095
23.6095
21.8539
21.8539
22.7324
23.6095
22.7324
23.6095
25.36
22.7324
23.6095
23.6095
21.8539
12.0807
21.8539
23.6095
22.7324
23.6095
23.6095
23.6095
24.4854
21.8539
25.36
24.4854
21.8539
20.974
21.8539
23.6095
22.7324
22.7324
21.8539
19.2097
20.0926
20.974
21.8539
24.4854
23.6095
24.4854
23.6095
23.6095
25.36
20.974
25.36
20.974
25.36
25.36
23.6095
23.6095
23.6095
23.6095
21.8539
24.4854
22.7324
23.6095
18.3252
23.6095
24.4854
23.6095
21.8539
24.4854
21.8539
20.0926
23.6095
19.2097
25.36
22.7324
22.7324
21.8539
22.7324
22.7324
23.6095
24.4854
23.6095
25.36
23.6095
21.8539
23.6095
20.974
21.8539
24.4854
22.7324
23.6095
22.7324
21.8539
23.6095
21.8539
20.0926
21.8539
23.6095
21.8539
22.7324
23.6095
23.6095
22.7324
24.4854
24.4854
23.6095
23.6095
20.0926
24.4854
24.4854
24.4854
21.8539
25.36
19.2097
19.2097
22.7324
21.8539
24.4854
24.4854
21.8539
25.36
24.4854
22.7324
21.8539
22.7324
21.8539
23.6095
21.8539
24.4854
23.6095
21.8539
23.6095
22.7324
25.36
23.6095
23.6095
22.7324
20.974
22.7324
17.439
20.0926
25.36
21.8539
22.7324
25.36
22.7324
26.2334