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Figure 4. Analytical sensitivity of the HLC assay and SIFE in serially diluted IgGκ and IgGλ samples. Representative serum samples containing monoclonal (A) IgGκ and (B) IgGλ proteins were serially diluted from an initial concentration of 0.200 g/dL. he SIFE bands became faint and undetectable at concentrations below 0.0063 g/dL, whereas the HLC assay remained quantifiable across all tested dilutions, consistent with its lower limits of detection (0.0009 g/dL for IgGκ and 0.0005 g/dL for IgGλ).
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